## 655584 varkensnier (hidden)
ANNEX of SOP A1068
Data evaluation form multi-level standard addition | [16 empty] | ug/kg
mg/kg
Analysis date: | 2022-04-04
Analyte: | Tulathromycine
Lab journal / page: | 3125
Matrix: | Nier
MRL / reporting limit: | 8000
Unit: | ug/kg
Sample 1
matrix | Varkensnier
RIKILTnumber | 200655584 | [5 empty] | Red cells should be deleted manually
↓
Addition | RT | Area most abundant | Area least abundant | RT IS | IS Area |  | Addition | Relative RT | Δ rel. RT | Response factor | Ion ratio | Δ ion ratio | Calculated |  |  | Result
(ug/kg) | [6 empty] | (ug/kg) |  | (%) |  |  | (%) | concentration | Trueness |  |  | afw. ionratio (%) | afw. rel RT (%) | y(i,ber) | ((y(i) - y(i, ber))^2 | (x(i)-x(gem))^2 | ygem | s(y/x) | s(xe) | t | U
0 | 4.13 | 104700000 | 78170000 | 4.12 | 15330000 |  | 0 | 1.0024 | 0.04017% | 6.8297 | 74.66% | 0.2398% |  |  | Slope | 0.0016552 | 0.2398% | 0.04017% | 6.3644 | 0.2165 | 18062500 | 13.399 | 0.6317 | 287.2682 | 2.1318 | 612.4119
0 | 4.12 | 92940000 | 70800000 | 4.11 | 14350000 |  | 0 | 1.0024 | 0.04076% | 6.4767 | 76.18% | 2.277% |  |  | y intercept | 6.3644 | 2.277% | 0.04076% | 6.3644 | 0.012591 | 18062500
750 | 4.12 | 108200000 | 84430000 | 4.11 | 14300000 |  |  | 1.0024 | 0.04076% | [5 empty] | correlation | 0.99823 |  | 0.04076%
1500 | 4.12 | 122700000 | 92160000 | 4.11 | 13440000 |  | 1500 | 1.0024 | 0.04076% | 9.1295 | 75.11% | 0.8427% | 1670.5243 | 111.4% |  |  | 0.8427% | 0.04076% | 8.8472 | 0.079664 | 7562500
3000 | 4.1 | 140500000 | 111900000 | 4.1 | 13760000 |  | 3000 | 1 | -0.2021% | 10.2108 | 79.64% | 6.93% | 2323.8015 | 77.46% |  |  | 6.93% | 0.2021% | 11.33 | 1.2527 | 1562500
6000 | 4.13 | 202400000 | 151000000 | 4.12 | 12340000 |  | 6000 | 1.0024 | 0.04017% | 16.4019 | 74.6% | 0.1643% | 6064.294 | 101.1% |  |  | 0.1643% | 0.04017% | 16.2955 | 0.011325 | 3062500
15000 | 4.14 | 316900000 | 217300000 | 4.13 | 10110000 |  | 15000 | 1.0024 | 0.03959% | 31.3452 | 68.57% | -7.937% | 15092.4697 | 100.6% |  |  | 7.937% | 0.03959% | 31.1921 | 0.023426 | 115562500
30000 | 4.12 | 528300000 | 337400000 | 4.11 | 8142000 |  |  | 1.0024 | 0.04076% | [8 empty] | 0.04076%
Acceptance criteria of the sample: | [19 empty] | 1.5962 | 163875000
Description |  | Result | Criterion |  | Accepted |  |  |  | MLSA aliquots accepted: | YES | [6 empty] | Predicted RSD(%)= | 0.13064
Linearity |  | 0.99823 | > 0,980 |  | YES |  |  |  | Date: | [7 empty] | c= | 3.8452e-06
Max. Δ ion ratio MLSA aliquots |  | 7.937% | =< | 40% | YES
Max. Δ rel. RT MLSA aliquots |  | 0.2021% | =< | 1% | YES
1st validation level:
Signalture:
Result:
Δ ion ratio sample aliquots |  | 2.277% | =< | 40% | YES
Δ rel. RT sample aliquots |  | 0.04076% | =< | 1% | YES
ss |  | 287.2682
RSD calculated result (%) |  | 7.471% | < | 8.709% | YES | → CCα_max= |  | 9714.0177
CI lower limit |  | 3232.7558 | [6 empty] | 2nd validation level:
CI upper limit |  | 4457.5795 | [6 empty] | Signalture:
| Calculated concentration (ug/kg): | 3845.1677 |  | Confirmatory result: | COMPLIANT
Remarks:
Monster 655584 varkensnier: 3845 µg/kg tulathromycine (<MRL varkensnier (=8000))
22%
13.608

## example
Data evaluation form multi-level standard addition for MRL substances
Analysis date: |  |  | Always fill in C10, C11 and L34
Analyte:
Lab journal / page:
Matrix:
MRL | 800
Unit: | ug/kg
Sample 1
matrix
Sample number
[19 empty] | RFcalculated Calculated response factor RF | (RFobserved-RFcalculated)2 | Spiked conc – average conc, squared |  | sres
Addition | RT | Product ion 1 | Product ion 2 | RT IS | IS Area |  | Addition | Relative RT | Δ rel. RT | Response factor | Ion ratio | Δ ion ratio | Calculated |  |  | Result
(ug/kg) | [6 empty] | (ug/kg) |  | (%) |  |  | (%) | concentration | Trueness | y=ax+b |  | afw. ionratio (%) | afw. rel RT (%) | y(i,ber) | ((y(i) - y(i, ber))^2 | (x(i)-x(gem))^2 | ygem | s(y/x) | ss = s(xe)
0 | 4.12 | 55230000 | 42230000 | 4.12 | 3344000 |  | 0 | 1 | -0.1617% | 16.5161 | 76.46% | 2.108% |  |  | Slope | 0.014494 | 2.108% | 0.1617% | 18.1481 | 2.6634 | 1166400 | 33.802 | 1.6411 | 120.1873
300 | 4.13 | 68290000 | 52300000 | 4.13 | 3007000 |  | 300 | 1 | -0.1617% | 22.7103 | 76.59% | 2.272% |  |  | y intercept | 18.1481 | 2.272% | 0.1617% | 22.4964 | 0.045756 | 608400
600 | 4.12 | 83870000 | 64440000 | 4.11 | 3058000 |  | 600 | 1.0024 | 0.08117% | 27.4264 | 76.83% | 2.603% | 640.132 | 106.7% | correlation | 0.99674 | 2.603% | 0.08117% | 26.8447 | 0.33836 | 230400
1500 | 4.13 | 112000000 | 84860000 | 4.12 | 2677000 |  | 1500 | 1.0024 | 0.08058% | 41.8379 | 75.77% | 1.181% | 1634.4142 | 109% |  |  | 1.181% | 0.08058% | 39.8896 | 3.7957 | 176400
3000 | 4.14 | 158500000 | 114200000 | 4.14 | 2619000 |  | 3000 | 1 | -0.1617% | 60.5193 | 72.05% | -3.784% | 2923.2907 | 97.44% |  |  | 3.784% | 0.1617% | 61.6311 | 1.2362 | 3686400
[6 empty] | average | 1080 | [11 empty] | 33.802 | 8.0794 | 5868000
Acceptance criteria of the sample:
Description |  | Result | Criterion |  | Accepted |  |  |  | MLSA aliquots accepted: | yes
Linearity |  | 0.99674 | > 0.990 |  | YES |  |  |  | Date: | [7 empty] | c= | 1.2521e-06
Max. Δ ion ratio MLSA aliquots |  | 3.784% | =< | 40% | YES
Max. Δ rel. RT MLSA aliquots |  | 0.1617% | =< | 1% | YES
1st validation level:
Signature:
Result:
Δ ion ratio sample aliquot |  | 2.108% | =< | 40% | YES
Δ rel. RT sample aliquot |  | 0.1617% | =< | 1% | YES
ss = s(xe) |  | 120.1873
RSD calculated result (%) |  | 9.599% | < | 11% | YES | → CCα_max= |  | 1088.64
2nd validation level:
Signature:
| Calculated concentration (ug/kg): | 1252.085 |  | Confirmatory result: | NON COMPLIANT
=│b/a│
Remarks:
0 | 16.5161
300 | 22.7103
600 | 27.4264
1500 | 41.8379
3000 | 60.5193
0
0
0
0

## MRL revised
Data evaluation form multi-level standard addition for MRL substances
Analysis date: |  |  | Always fill in C10, C11 and L34
Analyte:
Lab journal / page:
Matrix:
MRL
Unit: | ug/kg
Sample 1
matrix
Sample number
[19 empty] | RFcalculated Calculated response factor RF | (RFobserved-RFcalculated)2 | Spiked conc – average conc, squared |  | sres
Addition | RT | Product ion 1 | Product ion 2 | RT IS | IS Area |  | Addition | Relative RT | Δ rel. RT | Response factor | Ion ratio | Δ ion ratio | Calculated |  |  | Result
(ug/kg) | [6 empty] | (ug/kg) |  | (%) |  |  | (%) | concentration | Trueness | y=ax+b |  | deviation ionratio (%) | deviation rel RT (%) | y(i,ber) | ((y(i) - y(i, ber))^2 | (x(i)-x(gem))^2 | ygem | s(y/x) | ss = s(xe)
[15 empty] | Slope | [6 empty] | #DIV/0! | 0 | #VALUE!
y intercept
correlation
[6 empty] | average | #DIV/0! | [11 empty] | #DIV/0! | 0 | 0
Acceptance criteria of the sample: | [18 empty] | average | sum | sum
Description |  | Result | Criterion |  | Accepted |  |  |  | MLSA aliquots accepted:
Linearity |  |  | > 0.990 | [5 empty] | Date: | [7 empty] | c= | #VALUE!
Max. Δ ion ratio MLSA aliquots |  |  | =<
Max. Δ rel. RT MLSA aliquots |  |  | =< | 1%
1st validation level:
Signature:
Result:
Δ ion ratio sample aliquot |  |  | =<
Δ rel. RT sample aliquot |  |  | =< | 1%
ss = s(xe) |  | #VALUE!
RSD calculated result (%) |  |  | <
2nd validation level:
Signature:
| Calculated concentration (ug/kg): |  |  | Confirmatory result:
=│b/a│
Remarks:
0
0
0
0
0
0
0
0
0

## prohibited revised
Data evaluation form multi-level standard addition for prohibited substances
Analysis date: |  |  | Always fill in C10, C11 and L34
Analyte:
Lab journal / page:
Matrix:
Lowest calibration level
Unit: | ug/kg
Sample 1
matrix
Sample number
[19 empty] | RFcalculated Calculated response factor RF | (RFobserved-RFcalculated)2 | Spiked conc – average conc, squared
Addition | RT | Product ion 1 | Product ion 2 | RT IS | IS Area |  | Addition | Relative RT | Δ rel. RT | Response factor | Ion ratio | Δ ion ratio | Calculated |  |  | Result
(ug/kg) | [6 empty] | (ug/kg) |  | (%) |  |  | (%) | concentration | Trueness |  |  | deviation ionratio (%) | deviation rel RT (%) | y(i,ber) | ((y(i) - y(i, ber))^2 | (x(i)-x(gem))^2 | ygem | s(y/x) | s(xe) | t | U
[15 empty] | Slope | [6 empty] | #DIV/0! | 0 | #VALUE! | #NUM! | #NUM!
y intercept
[15 empty] | correlation | [6 empty] | #DIV/0!
[6 empty] | average | #DIV/0! | [11 empty] | #DIV/0! | 0 | 0
Acceptance criteria of the sample: | [18 empty] | average | sum | sum
Description |  | Result | Criterion |  | Accepted |  |  |  | MLSA aliquots accepted: | [9 empty] | #NUM!
Linearity |  |  | > 0.990 | [5 empty] | Date: | [7 empty] | c= | #VALUE! | 0
Max. Δ ion ratio MLSA aliquots |  |  | =<
Max. Δ rel. RT MLSA aliquots |  |  | =< | 1%
1st validation level:
Signature:
Result:
Δ ion ratio sample aliquot |  |  | =<
Δ rel. RT sample aliquot |  |  | =< | 1%
ss = s(xe) |  | #VALUE!
RSD calculated result (%) |  |  | <
2nd validation level:
Signature:
| Calculated concentration (ug/kg): |  |  | Confirmatory result:
=│b/a│
Remarks:
0
0
0
0
0
0
0
0
0

## 659592 varkensvlees (hidden)
ANNEX of SOP A1068
Data evaluation form multi-level standard addition | [16 empty] | ug/kg
mg/kg
Analysis date: | 2022-04-04
Analyte: | Tulathromycine
Lab journal / page: | 3125
Matrix: | vlees
MRL / reporting limit: | 800
Unit: | ug/kg
Sample 1
matrix | Varkensvlees
RIKILTnumber | 659592 | [5 empty] | Red cells should be deleted manually
↓
Addition | RT | Area most abundant | Area least abundant | RT IS | IS Area |  | Addition | Relative RT | Δ rel. RT | Response factor | Ion ratio | Δ ion ratio | Calculated |  |  | Result
(ug/kg) | [6 empty] | (ug/kg) |  | (%) |  |  | (%) | concentration | Trueness |  |  | afw. ionratio (%) | afw. rel RT (%) | y(i,ber) | ((y(i) - y(i, ber))^2 | (x(i)-x(gem))^2 | ygem | s(y/x) | s(xe) | t | U
0 | 4.15 | 25450000 | 17050000 | 4.15 | 3374000 |  | 0 | 1 | -0.1616% | 7.543 | 66.99% | -10.72% |  |  | Slope | 0.016047 | 10.72% | 0.1616% | 7.0959 | 0.19987 | 180625 | 13.916 | 0.81702 | 40.269 | 2.1318 | 85.8474
0 | 4.13 | 22530000 | 16410000 | 4.12 | 3385000 |  | 0 | 1.0024 | 0.08068% | 6.6558 | 72.84% | -2.938% |  |  | y intercept | 7.0959 | 2.938% | 0.08068% | 7.0959 | 0.19366 | 180625
75 | 4.13 | 26530000 | 20140000 | 4.12 | 3161000 |  |  | 1.0024 | 0.08068% | [5 empty] | correlation | 0.99685 |  | 0.08068%
150 | 4.14 | 30320000 | 22750000 | 4.14 | 2892000 |  | 150 | 1 | -0.1616% | 10.4841 | 75.03% | -0.0109% | 211.1391 | 140.8% |  |  | 0.0109% | 0.1616% | 9.503 | 0.96258 | 75625
300 | 4.13 | 35660000 | 27090000 | 4.12 | 3311000 |  | 300 | 1.0024 | 0.08068% | 10.7702 | 75.97% | 1.234% | 228.9656 | 76.32% |  |  | 1.234% | 0.08068% | 11.9101 | 1.2994 | 15625
600 | 4.13 | 48690000 | 35600000 | 4.12 | 2905000 |  | 600 | 1.0024 | 0.08068% | 16.7608 | 73.12% | -2.566% | 602.2767 | 100.4% |  |  | 2.566% | 0.08068% | 16.7242 | 0.0013348 | 30625
1500 | 4.12 | 83210000 | 63280000 | 4.12 | 2660000 |  | 1500 | 1 | -0.1616% | 31.282 | 76.05% | 1.342% | 1507.1823 | 100.5% |  |  | 1.342% | 0.1616% | 31.1667 | 0.013284 | 1155625
3000 | 4.12 | 122700000 | 93340000 | 4.11 | 2297000 |  |  | 1.0024 | 0.08127% | [8 empty] | 0.08127%
Acceptance criteria of the sample: | [19 empty] | 2.6701 | 1638750
Description |  | Result | Criterion |  | Accepted |  |  |  | MLSA aliquots accepted: | YES | [6 empty] | Predicted RSD(%)= | 0.18091
Linearity |  | 0.99685 | > 0,980 |  | YES |  |  |  | Date: | [7 empty] | c= | 4.4219e-07
Max. Δ ion ratio MLSA aliquots |  | 2.566% | =< | 40% | YES
Max. Δ rel. RT MLSA aliquots |  | 0.1616% | =< | 1% | YES
1st validation level:
Signalture:
Result:
Δ ion ratio sample aliquots |  | 10.72% | =< | 40% | YES
Δ rel. RT sample aliquots |  | 0.1616% | =< | 1% | YES
ss |  | 40.269
RSD calculated result (%) |  | 9.107% | < | 12.06% | YES | → CCα_max= |  | 1037.3532
CI lower limit |  | 356.3422 | [6 empty] | 2nd validation level:
CI upper limit |  | 528.037 | [6 empty] | Signalture:
| Calculated concentration (ug/kg): | 442.1896 |  | Confirmatory result: | COMPLIANT
Remarks:
Monster 659592 varkensvlees: 442 µg/kg tulathromycine (<MRL varkensvlees (=800))
22%
13.608

## hulpblad_acc (hidden)
655584 varkensnier | 9
655584 varkensvlees
659591 varkensnier
659592 varkensvlees
hulpblad_acc
658830 kalfsnier
658834 kalfsvlees
Ruwe data
MSO controles

## 658830 kalfsnier (hidden)
ANNEX of SOP A1068
Data evaluation form multi-level standard addition | [16 empty] | ug/kg
mg/kg
Analysis date: | 2022-04-04
Analyte: | Tulathromycine
Lab journal / page: | 3125
Matrix: | kalfsnier
MRL / reporting limit: | 3000
Unit: | ug/kg
Sample 1
matrix | kalfsnier
RIKILTnumber | 658830 | [5 empty] | Red cells should be deleted manually
↓
Addition | RT | Area most abundant | Area least abundant | RT IS | IS Area |  | Addition | Relative RT | Δ rel. RT | Response factor | Ion ratio | Δ ion ratio | Calculated |  |  | Result
(ug/kg) | [6 empty] | (ug/kg) |  | (%) |  |  | (%) | concentration | Trueness |  |  | afw. ionratio (%) | afw. rel RT (%) | y(i,ber) | ((y(i) - y(i, ber))^2 | (x(i)-x(gem))^2 | ygem | s(y/x) | s(xe) | t | U
0 | 4.15 | 34090000 | 25670000 | 4.14 | 19980000 |  | 0 | 1.0024 | -0.001054% | 1.7062 | 75.3% | -1.879% |  |  | Slope | 0.0015859 | 1.879% | 0.001054% | 1.7945 | 0.0077933 | 1102500 | 3.4597 | 0.18093 | 111.508 | 2.3534 | 262.4189
0 | 4.14 | 35550000 | 25070000 | 4.14 | 17710000 |  | 0 | 1 | -0.242% | 2.0073 | 70.52% | -8.108% |  |  | y intercept | 1.7945 | 8.108% | 0.242% | 1.7945 | 0.045307 | 1102500
750 | 4.14 | 51910000 | 40880000 | 4.13 | 18670000 |  | 750 | 1.0024 | -0.0004702% | 2.7804 | 78.75% | 2.618% | 621.6594 | 82.89% | correlation | 0.99692 | 2.618% | 0.0004702% | 2.9839 | 0.041428 | 90000
1500 | 4.14 | 74440000 | 56220000 | 4.13 | 17600000 |  | 1500 | 1.0024 | -0.0004702% | 4.2295 | 75.52% | -1.588% | 1535.4109 | 102.4% |  |  | 1.588% | 0.0004702% | 4.1734 | 0.0031539 | 202500
3000 | 4.12 | 107700000 | 81800000 | 4.11 | 16380000 |  | 3000 | 1.0024 | 0.0007052% | 6.5751 | 75.95% | -1.03% | 3014.3797 | 100.5% |  |  | 1.03% | 0.0007052% | 6.5523 | 0.00052008 | 3802500
6000 | 4.12 | 185900000 | 138400000 | 4.11 | 14600000 |  |  | 1.0024 | 0.0007052% | [8 empty] | 0.0007052%
15000 | 4.14 | 328700000 | 229600000 | 4.13 | 11870000 |  |  | 1.0024 | -0.0004702% | [8 empty] | 0.0004702%
Acceptance criteria of the sample: | [19 empty] | 0.098203 | 6300000
Description |  | Result | Criterion |  | Accepted |  |  |  | MLSA aliquots accepted: | YES | [6 empty] | Predicted RSD(%)= | 0.15705
Linearity |  | 0.99692 | > 0,980 |  | YES |  |  |  | Date: | [7 empty] | c= | 1.1315e-06
Max. Δ ion ratio MLSA aliquots |  | 2.618% | =< | 40% | YES
Max. Δ rel. RT MLSA aliquots |  | 0.0007052% | =< | 1% | YES
1st validation level:
Signalture:
Result:
Δ ion ratio sample aliquots |  | 8.108% | =< | 40% | YES
Δ rel. RT sample aliquots |  | 0.242% | =< | 1% | YES
ss |  | 111.508
RSD calculated result (%) |  | 9.855% | < | 10.47% | YES | → CCα_max= |  | 3772.6969
CI lower limit |  | 869.0824 | [6 empty] | 2nd validation level:
CI upper limit |  | 1393.9202 | [6 empty] | Signalture:
| Calculated concentration (ug/kg): | 1131.5013 |  | Confirmatory result: | COMPLIANT
Remarks:
Monster 658830 (kalfsnier): 1132 µg/kg tulathromycine (<MRL (=3000 µg/kg))
22%
13.608

## 658834 kalfsvlees (hidden)
ANNEX of SOP A1068
Data evaluation form multi-level standard addition | [16 empty] | ug/kg
mg/kg
Analysis date: | 2022-04-04
Analyte: | Tulathromycine
Lab journal / page: | 3125
Matrix: | kalfsvlees
MRL / reporting limit: | 300
Unit: | ug/kg
Sample 1
matrix | Kalfsvlees
RIKILTnumber | 658834 | [5 empty] | Red cells should be deleted manually
↓
Addition | RT | Area most abundant | Area least abundant | RT IS | IS Area |  | Addition | Relative RT | Δ rel. RT | Response factor | Ion ratio | Δ ion ratio | Calculated |  |  | Result
(ug/kg) | [6 empty] | (ug/kg) |  | (%) |  |  | (%) | concentration | Trueness |  |  | afw. ionratio (%) | afw. rel RT (%) | y(i,ber) | ((y(i) - y(i, ber))^2 | (x(i)-x(gem))^2 | ygem | s(y/x) | s(xe) | t | U
0 | 4.17 | 3778000 | 2721000 | 4.17 | 3661000 |  | 0 | 1 | -0.09653% | 1.032 | 72.02% | -4.228% |  |  | Slope | 0.014723 | 4.228% | 0.09653% | 0.99499 | 0.0013668 | 11025 | 2.5409 | 0.039808 | 2.2176 | 2.3534 | 5.2189
0 | 4.15 | 3226000 | 2440000 | 4.15 | 3235000 |  | 0 | 1 | -0.09653% | 0.99722 | 75.64% | 0.5767% |  |  | y intercept | 0.99499 | 0.5767% | 0.09653% | 0.99499 | 4.9693e-06 | 11025
75 | 4.15 | 7114000 | 5243000 | 4.15 | 3483000 |  | 75 | 1 | -0.09653% | 2.0425 | 73.7% | -1.997% | 71.146 | 94.86% | correlation | 0.99983 | 1.997% | 0.09653% | 2.0992 | 0.0032199 | 900
150 | 4.15 | 10950000 | 8329000 | 4.15 | 3411000 |  | 150 | 1 | -0.09653% | 3.2102 | 76.06% | 1.146% | 150.4563 | 100.3% |  |  | 1.146% | 0.09653% | 3.2035 | 4.5137e-05 | 2025
300 | 4.15 | 16930000 | 12840000 | 4.15 | 3122000 |  | 300 | 1 | -0.09653% | 5.4228 | 75.84% | 0.8509% | 300.7354 | 100.2% |  |  | 0.8509% | 0.09653% | 5.412 | 0.00011722 | 38025
600 | 4.16 | 32950000 | 24310000 | 4.15 | 3042000 |  |  | 1.0024 | 0.1442% | [8 empty] | 0.1442%
1500 | 4.14 | 70280000 | 52320000 | 4.13 | 2783000 |  |  | 1.0024 | 0.1454% | [8 empty] | 0.1454%
Acceptance criteria of the sample: | [19 empty] | 0.004754 | 63000
Description |  | Result | Criterion |  | Accepted |  |  |  | MLSA aliquots accepted: | YES | [6 empty] | Predicted RSD(%)= | 0.24002
Linearity |  | 0.99983 | > 0,980 |  | YES |  |  |  | Date: | [7 empty] | c= | 6.7579e-08
Max. Δ ion ratio MLSA aliquots |  | 1.997% | =< | 40% | YES
Max. Δ rel. RT MLSA aliquots |  | 0.1454% | =< | 1% | YES
1st validation level:
Signalture:
Result:
Δ ion ratio sample aliquots |  | 4.228% | =< | 40% | YES
Δ rel. RT sample aliquots |  | 0.09653% | =< | 1% | YES
ss |  | 2.2176
RSD calculated result (%) |  | 3.282% | < | 14.7% | YES | → CCα_max= |  | 418.0907
CI lower limit |  | 62.3603 | [6 empty] | 2nd validation level:
CI upper limit |  | 72.7981 | [6 empty] | Signalture:
| Calculated concentration (ug/kg): | 67.5792 |  | Confirmatory result: | COMPLIANT
Remarks:
Monster 658834 (kalfsvlees): 68 µg/kg tylathromycine (<0.25*MRL (MRL=300 µg/kg))
22%
13.608

## Ruwe data (hidden)
Index | Sample Name | Sample Type | Component Name | Component Type | Component Group Name | Area | Retention Time
7 | 200655584 A | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 202600000 | 4.13
8 | 200655584 A | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 78170000 | 4.13
9 | 200655584 A | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 104700000 | 4.13
12 | 200655584 A | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 15330000 | 4.12
85 | 200655584 B | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 188300000 | 4.12
86 | 200655584 B | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 70800000 | 4.12
87 | 200655584 B | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 92940000 | 4.12
90 | 200655584 B | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 14350000 | 4.11
163 | 200655584 + 0.25*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 223300000 | 4.12
164 | 200655584 + 0.25*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 84430000 | 4.12
165 | 200655584 + 0.25*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 108200000 | 4.12
168 | 200655584 + 0.25*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 14300000 | 4.11
241 | 200655584 + 0.5*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 244500000 | 4.12
242 | 200655584 + 0.5*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 92160000 | 4.12
243 | 200655584 + 0.5*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 122700000 | 4.12
246 | 200655584 + 0.5*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 13440000 | 4.11
319 | 200655584 + 1*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 311600000 | 4.1
320 | 200655584 + 1*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 111900000 | 4.11
321 | 200655584 + 1*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 140500000 | 4.1
324 | 200655584 + 1*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 13760000 | 4.1
397 | 200655584 + 2*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 515200000 | 4.13
398 | 200655584 + 2*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 151000000 | 4.13
399 | 200655584 + 2*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 202400000 | 4.13
402 | 200655584 + 2*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 12340000 | 4.12
475 | 200655584 + 5*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 730200000 | 4.14
476 | 200655584 + 5*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 217300000 | 4.14
477 | 200655584 + 5*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 316900000 | 4.14
480 | 200655584 + 5*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 10110000 | 4.13
553 | 200655584 + 10*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 858900000 | 4.13
554 | 200655584 + 10*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 337400000 | 4.13
555 | 200655584 + 10*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 528300000 | 4.12
558 | 200655584 + 10*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 8142000 | 4.11
631 | spoel | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 849600 | 4.2
632 | spoel | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 307400 | 4.19
633 | spoel | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 420400 | 4.19
636 | spoel | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 1251 | 4.14
709 | spoel | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 336900 | 4.31
710 | spoel | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 109000 | 4.2
711 | spoel | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 111500 | 4.21
714 | spoel | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 625.3 | 4.17
787 | Bl varkensnier | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 231000 | 4.14
788 | Bl varkensnier | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 89650 | 4.14
789 | Bl varkensnier | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 104400 | 4.14
792 | Bl varkensnier | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 25220000 | 4.13
865 | Bl varkensnier + 1MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 191300000 | 4.14
866 | Bl varkensnier + 1MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 72130000 | 4.14
867 | Bl varkensnier + 1MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 95560000 | 4.14
870 | Bl varkensnier + 1MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 20450000 | 4.13
943 | spoel | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 137000 | 4.19
944 | spoel | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 52110 | 4.2
945 | spoel | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 98190 | 4.17
948 | spoel | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 7295 | 4.18
1021 | spoel | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 74220 | 4.22
1022 | spoel | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 35960 | 4.2
1023 | spoel | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 7714 | 4.17
1026 | spoel | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 3127 | 4.19
1099 | 200655584 A | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 116400000 | 4.13
1100 | 200655584 A | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 42230000 | 4.12
1101 | 200655584 A | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 55230000 | 4.12
1104 | 200655584 A | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 3344000 | 4.12
1177 | 200655584 B | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 115400000 | 4.12
1178 | 200655584 B | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 39220000 | 4.12
1179 | 200655584 B | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 54670000 | 4.12
1182 | 200655584 B | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 3439000 | 4.11
1255 | 200655584 + 0.25*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 126000000 | 4.12
1256 | 200655584 + 0.25*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 45570000 | 4.12
1257 | 200655584 + 0.25*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 59880000 | 4.12
1260 | 200655584 + 0.25*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 3316000 | 4.12
1333 | 200655584 + 0.5*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 121100000 | 4.13
1334 | 200655584 + 0.5*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 42730000 | 4.13
1335 | 200655584 + 0.5*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 58830000 | 4.13
1338 | 200655584 + 0.5*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 3321000 | 4.13
1411 | 200655584 + 1*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 136500000 | 4.13
1412 | 200655584 + 1*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 52300000 | 4.13
1413 | 200655584 + 1*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 68290000 | 4.13
1416 | 200655584 + 1*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 3007000 | 4.13
1489 | 200655584 + 2*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 177300000 | 4.12
1490 | 200655584 + 2*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 64440000 | 4.12
1491 | 200655584 + 2*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 83870000 | 4.12
1494 | 200655584 + 2*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 3058000 | 4.11
1567 | 200655584 + 5*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 225400000 | 4.13
1568 | 200655584 + 5*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 84860000 | 4.13
1569 | 200655584 + 5*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 112000000 | 4.13
1572 | 200655584 + 5*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 2677000 | 4.12
1645 | 200655584 + 10*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 336300000 | 4.14
1646 | 200655584 + 10*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 114200000 | 4.14
1647 | 200655584 + 10*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 158500000 | 4.14
1650 | 200655584 + 10*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 2619000 | 4.14
1723 | spoel | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 180600 | 4.24
1724 | spoel | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 40960 | 4.21
1725 | spoel | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 91630 | 4.21
1728 | spoel | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 1043 | 4.16
1801 | spoel | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 68800 | 4.26
1802 | spoel | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 29180 | 4.25
1803 | spoel | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 40020 | 4.24
1806 | spoel | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 1041 | 4.24
1879 | Bl varkensvlees | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 76520 | 4.16
1880 | Bl varkensvlees | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 35650 | 4.15
1881 | Bl varkensvlees | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 37110 | 4.15
1884 | Bl varkensvlees | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 4448000 | 4.15
1957 | Bl varkensvlees + 1*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 50200000 | 4.14
1958 | Bl varkensvlees + 1*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 16720000 | 4.14
1959 | Bl varkensvlees + 1*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 23860000 | 4.14
1962 | Bl varkensvlees + 1*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 3695000 | 4.14
2035 | spoel | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 80260 | 4.23
2036 | spoel | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 1251 | 4.12
2037 | spoel | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 1042 | 4.15
2040 | spoel | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 1042 | 4.22
2113 | 200658834 A | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 8151000 | 4.17
2114 | 200658834 A | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 2721000 | 4.17
2115 | 200658834 A | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 3778000 | 4.17
2118 | 200658834 A | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 3661000 | 4.17
2191 | 200658834 B | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 6888000 | 4.16
2192 | 200658834 B | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 2440000 | 4.15
2193 | 200658834 B | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 3226000 | 4.15
2196 | 200658834 B | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 3235000 | 4.15
2269 | 200658834 + 0.25*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 14750000 | 4.15
2270 | 200658834 + 0.25*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 5243000 | 4.15
2271 | 200658834 + 0.25*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 7114000 | 4.15
2274 | 200658834 + 0.25*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 3483000 | 4.15
2347 | 200658834 + 0.5*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 23400000 | 4.16
2348 | 200658834 + 0.5*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 8329000 | 4.15
2349 | 200658834 + 0.5*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 10950000 | 4.15
2352 | 200658834 + 0.5*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 3411000 | 4.15
2425 | 200658834 + 1*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 35220000 | 4.15
2426 | 200658834 + 1*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 12840000 | 4.15
2427 | 200658834 + 1*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 16930000 | 4.15
2430 | 200658834 + 1*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 3122000 | 4.15
2503 | 200658834 + 2*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 66270000 | 4.16
2504 | 200658834 + 2*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 24310000 | 4.16
2505 | 200658834 + 2*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 32950000 | 4.16
2508 | 200658834 + 2*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 3042000 | 4.15
2581 | 200658834 + 5*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 142500000 | 4.14
2582 | 200658834 + 5*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 52320000 | 4.14
2583 | 200658834 + 5*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 70280000 | 4.14
2586 | 200658834 + 5*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 2783000 | 4.13
2659 | spoel | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 51080 | 4.24
2660 | spoel | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 10630 | 4.22
2661 | spoel | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 1251 | 4.16
2664 | spoel | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 416.6 | 4.15
2737 | spoel | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 1147 | 4.13
2738 | spoel | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 2501 | 4.2
2739 | spoel | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 7190 | 4.21
2742 | spoel | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 416.4 | 4.34
2815 | Bl. Vleeskalf | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 30020 | 4.18
2816 | Bl. Vleeskalf | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 36170 | 4.19
2817 | Bl. Vleeskalf | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 20120 | 4.18
2820 | Bl. Vleeskalf | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 2935000 | 4.17
2893 | Bl vleeskalf + 1*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 26970000 | 4.14
2894 | Bl vleeskalf + 1*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 9111000 | 4.14
2895 | Bl vleeskalf + 1*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 12290000 | 4.14
2898 | Bl vleeskalf + 1*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 2818000 | 4.13
2971 | spoel | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 1042 | 4.17
2972 | spoel | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 11670 | 4.25
2973 | spoel | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 833.6 | 4.13
2976 | spoel | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 1043 | 4.28
3049 | 200658830 A | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 75560000 | 4.15
3050 | 200658830 A | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 25670000 | 4.15
3051 | 200658830 A | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 34090000 | 4.15
3054 | 200658830 A | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 19980000 | 4.14
3127 | 200658830 B | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 73100000 | 4.14
3128 | 200658830 B | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 25070000 | 4.14
3129 | 200658830 B | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 35550000 | 4.14
3132 | 200658830 B | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 17710000 | 4.14
3205 | 200658830 + 0.25*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 112800000 | 4.14
3206 | 200658830 + 0.25*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 40880000 | 4.14
3207 | 200658830 + 0.25*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 51910000 | 4.14
3210 | 200658830 + 0.25*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 18670000 | 4.13
3283 | 200658830 + 0.5*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 147900000 | 4.14
3284 | 200658830 + 0.5*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 56220000 | 4.14
3285 | 200658830 + 0.5*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 74440000 | 4.14
3288 | 200658830 + 0.5*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 17600000 | 4.13
3361 | 200658830 + 1*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 209500000 | 4.12
3362 | 200658830 + 1*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 81800000 | 4.12
3363 | 200658830 + 1*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 107700000 | 4.12
3366 | 200658830 + 1*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 16380000 | 4.11
3439 | 200658830 + 2*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 431700000 | 4.11
3440 | 200658830 + 2*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 138400000 | 4.12
3441 | 200658830 + 2*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 185900000 | 4.12
3444 | 200658830 + 2*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 14600000 | 4.11
3517 | 200658830 + 5*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 747200000 | 4.14
3518 | 200658830 + 5*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 229600000 | 4.14
3519 | 200658830 + 5*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 328700000 | 4.14
3522 | 200658830 + 5*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 11870000 | 4.13
3595 | spoel | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 450100 | 4.2
3596 | spoel | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 104000 | 4.17
3597 | spoel | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 196100 | 4.21
3600 | spoel | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 834.4 | 4.16
3673 | spoel | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 106300 | 4.26
3674 | spoel | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 4066 | 4.16
3675 | spoel | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 2709 | 4.11
3678 | spoel | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 833.6 | 4.16
3751 | Bl rundernier | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 156800 | 4.15
3752 | Bl rundernier | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 113800 | 4.15
3753 | Bl rundernier | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 67140 | 4.14
3756 | Bl rundernier | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 20430000 | 4.14
3829 | Bl rundernier + 1*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 178900000 | 4.13
3830 | Bl rundernier + 1*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 64610000 | 4.13
3831 | Bl rundernier + 1*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 82870000 | 4.13
3834 | Bl rundernier + 1*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 16320000 | 4.12
3907 | spoel | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 77140 | 4.21
3908 | spoel | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 26370 | 4.21
3909 | spoel | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 52010 | 4.2
3912 | spoel | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 5418 | 4.17
3985 | 200659592 A | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 52040000 | 4.15
3986 | 200659592 A | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 17050000 | 4.15
3987 | 200659592 A | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 25450000 | 4.15
3990 | 200659592 A | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 3374000 | 4.15
4063 | 200659592 B | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 49470000 | 4.13
4064 | 200659592 B | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 16410000 | 4.13
4065 | 200659592 B | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 22530000 | 4.13
4068 | 200659592 B | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 3385000 | 4.12
4141 | 200659592 + 0.25*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 58970000 | 4.13
4142 | 200659592 + 0.25*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 20140000 | 4.13
4143 | 200659592 + 0.25*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 26530000 | 4.13
4146 | 200659592 + 0.25*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 3161000 | 4.12
4219 | 200659592 + 0.5*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 64680000 | 4.14
4220 | 200659592 + 0.5*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 22750000 | 4.14
4221 | 200659592 + 0.5*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 30320000 | 4.14
4224 | 200659592 + 0.5*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 2892000 | 4.14
4297 | 200659592 + 1*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 76110000 | 4.13
4298 | 200659592 + 1*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 27090000 | 4.13
4299 | 200659592 + 1*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 35660000 | 4.13
4302 | 200659592 + 1*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 3311000 | 4.12
4375 | 200659592 + 2*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 105600000 | 4.13
4376 | 200659592 + 2*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 35600000 | 4.13
4377 | 200659592 + 2*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 48690000 | 4.13
4380 | 200659592 + 2*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 2905000 | 4.12
4453 | 200659592 + 5*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 169500000 | 4.12
4454 | 200659592 + 5*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 63280000 | 4.12
4455 | 200659592 + 5*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 83210000 | 4.12
4458 | 200659592 + 5*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 2660000 | 4.12
4531 | 200659592 + 10*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 258900000 | 4.12
4532 | 200659592 + 10*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 93340000 | 4.12
4533 | 200659592 + 10*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 122700000 | 4.12
4536 | 200659592 + 10*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 2297000 | 4.11
4609 | spoel | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 31690 | 4.2
4610 | spoel | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 41480 | 4.21
4611 | spoel | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 34080 | 4.23
4614 | spoel | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 625.2 | 4.18
4687 | spoel | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 1875 | 4.09
4688 | spoel | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 1875 | 4.18
4689 | spoel | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 6671 | 4.2
4692 | spoel | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 625.3 | 4.39
4765 | 200659591 A | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 86910000 | 4.13
4766 | 200659591 A | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 30350000 | 4.13
4767 | 200659591 A | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 40150000 | 4.13
4770 | 200659591 A | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 16460000 | 4.12
4843 | 200659591 B | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 84590000 | 4.13
4844 | 200659591 B | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 31110000 | 4.13
4845 | 200659591 B | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 39160000 | 4.13
4848 | 200659591 B | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 16070000 | 4.13
4921 | 200659591 + 0.25*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 118100000 | 4.13
4922 | 200659591 + 0.25*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 45730000 | 4.13
4923 | 200659591 + 0.25*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 55310000 | 4.13
4926 | 200659591 + 0.25*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 15740000 | 4.12
4999 | 200659591 + 0.5*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 150500000 | 4.12
5000 | 200659591 + 0.5*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 53880000 | 4.12
5001 | 200659591 + 0.5*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 72330000 | 4.12
5004 | 200659591 + 0.5*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 14990000 | 4.12
5077 | 200659591 + 1*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 232200000 | 4.12
5078 | 200659591 + 1*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 81320000 | 4.11
5079 | 200659591 + 1*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 107500000 | 4.12
5082 | 200659591 + 1*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 15180000 | 4.11
5155 | 200659591 + 2*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 429800000 | 4.12
5156 | 200659591 + 2*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 135600000 | 4.11
5157 | 200659591 + 2*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 173300000 | 4.11
5160 | 200659591 + 2*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 14220000 | 4.11
5233 | 200659591 + 5*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 715300000 | 4.1
5234 | 200659591 + 5*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 227100000 | 4.1
5235 | 200659591 + 5*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 316400000 | 4.1
5238 | 200659591 + 5*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 11860000 | 4.09
5311 | 200659591 + 10*MRL | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 876200000 | 4.13
5312 | 200659591 + 10*MRL | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 335100000 | 4.13
5313 | 200659591 + 10*MRL | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 512900000 | 4.13
5316 | 200659591 + 10*MRL | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 8855000 | 4.12
5389 | spoel | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 567400 | 4.19
5390 | spoel | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 207700 | 4.18
5391 | spoel | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 278100 | 4.18
5394 | spoel | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 8339 | 4.21
5467 | QC hoog | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 257400000 | 4.13
5468 | QC hoog | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 89900000 | 4.13
5469 | QC hoog | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 115300000 | 4.13
5472 | QC hoog | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 24920000 | 4.12
5545 | QC laag | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 52060000 | 4.13
5546 | QC laag | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 17620000 | 4.13
5547 | QC laag | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 24730000 | 4.13
5550 | QC laag | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 27340000 | 4.12
5623 | MSO nier | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 298100000 | 4.12
5624 | MSO nier | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 96570000 | 4.12
5625 | MSO nier | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 132300000 | 4.12
5628 | MSO nier | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 25230000 | 4.11
5701 | MSO vlees | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 277400000 | 4.12
5702 | MSO vlees | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 94020000 | 4.13
5703 | MSO vlees | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 129300000 | 4.12
5706 | MSO vlees | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 27070000 | 4.12
5779 | QC hoog | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 258900000 | 4.13
5780 | QC hoog | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 87870000 | 4.13
5781 | QC hoog | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 122000000 | 4.13
5784 | QC hoog | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 24820000 | 4.13
5857 | QC laag | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 55210000 | 4.13
5858 | QC laag | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 18840000 | 4.13
5859 | QC laag | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 23320000 | 4.13
5862 | QC laag | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 27640000 | 4.12
5935 | MSO nier | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 281000000 | 4.11
5936 | MSO nier | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 94730000 | 4.12
5937 | MSO nier | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 125400000 | 4.12
5940 | MSO nier | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 25590000 | 4.11
6013 | MSO vlees | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 280600000 | 4.13
6014 | MSO vlees | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 92450000 | 4.13
6015 | MSO vlees | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 129500000 | 4.13
6018 | MSO vlees | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 25890000 | 4.12
6091 | QC hoog | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 255700000 | 4.14
6092 | QC hoog | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 86580000 | 4.14
6093 | QC hoog | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 122900000 | 4.14
6096 | QC hoog | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 24710000 | 4.13
6169 | QC laag | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 53630000 | 4.12
6170 | QC laag | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 17740000 | 4.12
6171 | QC laag | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 23960000 | 4.12
6174 | QC laag | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 26010000 | 4.11
6247 | MSO nier | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 286300000 | 4.13
6248 | MSO nier | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 95820000 | 4.13
6249 | MSO nier | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 127300000 | 4.13
6252 | MSO nier | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 24780000 | 4.12
6325 | MSO vlees | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 256100000 | 4.12
6326 | MSO vlees | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 93420000 | 4.12
6327 | MSO vlees | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 128400000 | 4.12
6330 | MSO vlees | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 26640000 | 4.12
6403 | QC hoog | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 249400000 | 4.13
6404 | QC hoog | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 90740000 | 4.13
6405 | QC hoog | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 126900000 | 4.13
6408 | QC hoog | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 23730000 | 4.12
6481 | QC laag | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 54290000 | 4.13
6482 | QC laag | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 17640000 | 4.13
6483 | QC laag | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 23580000 | 4.13
6486 | QC laag | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 26390000 | 4.12
6559 | MSO nier | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 269300000 | 4.13
6560 | MSO nier | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 95440000 | 4.13
6561 | MSO nier | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 127900000 | 4.13
6564 | MSO nier | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 26520000 | 4.12
6637 | MSO vlees | Unknown | Tulathromycine 1 | Quantifiers | Tulathromycine | 300400000 | 4.13
6638 | MSO vlees | Unknown | Tulathromycine 2 | Qualifiers | Tulathromycine | 101800000 | 4.13
6639 | MSO vlees | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 134500000 | 4.13
6642 | MSO vlees | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 26640000 | 4.12

## MSO controles (hidden)
5469 | QC hoog | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 115300000 | 4.13 | 4.6268 |  | gemiddelde | Verschil tov QC
5472 | QC hoog | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 24920000 | 4.12 |  | QC hoog | 4.9659
5547 | QC laag | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 24730000 | 4.13 | 0.90454 | MSO nier | 5.026 | 1.211%
5550 | QC laag | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 27340000 | 4.12 |  | MSO vlees | 4.9118 | 1.102%
5625 | MSO nier | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 132300000 | 4.12 | 5.2438
5628 | MSO nier | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 25230000 | 4.11
5703 | MSO vlees | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 129300000 | 4.12 | 4.7765
5706 | MSO vlees | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 27070000 | 4.12
5781 | QC hoog | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 122000000 | 4.13 | 4.9154
5784 | QC hoog | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 24820000 | 4.13
5859 | QC laag | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 23320000 | 4.13 | 0.8437
5862 | QC laag | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 27640000 | 4.12
5937 | MSO nier | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 125400000 | 4.12 | 4.9004
5940 | MSO nier | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 25590000 | 4.11
6015 | MSO vlees | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 129500000 | 4.13 | 5.0019
6018 | MSO vlees | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 25890000 | 4.12
6093 | QC hoog | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 122900000 | 4.14 | 4.9737
6096 | QC hoog | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 24710000 | 4.13
6171 | QC laag | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 23960000 | 4.12 | 0.92118
6174 | QC laag | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 26010000 | 4.11
6249 | MSO nier | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 127300000 | 4.13 | 5.1372
6252 | MSO nier | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 24780000 | 4.12
6327 | MSO vlees | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 128400000 | 4.12 | 4.8198
6330 | MSO vlees | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 26640000 | 4.12
6405 | QC hoog | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 126900000 | 4.13 | 5.3477
6408 | QC hoog | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 23730000 | 4.12
6483 | QC laag | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 23580000 | 4.13 | 0.89352
6486 | QC laag | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 26390000 | 4.12
6561 | MSO nier | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 127900000 | 4.13 | 4.8228
6564 | MSO nier | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 26520000 | 4.12
6639 | MSO vlees | Unknown | Tulathromycine 3 | Qualifiers | Tulathromycine | 134500000 | 4.13 | 5.0488
6642 | MSO vlees | Unknown | Tulathromycine-d7 158 | Qualifiers | Tulathromycine | 26640000 | 4.12